Eureka Fire Protection District

**E**mergency **F**ire • **M**edical • **R**escue • **F**ire **P**revention **S**ervices

**YOU ARE INVITED TO SUBMIT SEALED BIDS ON THE FOLLOWING**:

Bay Concrete Replacement Eureka Fire House #3

3570 White Oak School Road

For more information, contact Battalion Chief Brian Dempsey or Chief Greg Brown (bdempsey@efpd.org or gbrown@efpd.org) at 636-938-5505.

 All bids shall include information on the products to be used and warranty information.

All work shall be done tax exempt

All bids are to include the following:

Saw-cut and remove the existing slab

Excavate 18” of sub-grade

Haul off existing bay concrete and spoils off-site

Place 18” of compacted Type 5 stone base in lifts

Place and finish 450 square feet of 8” concrete reinforced with #5’s 2 12” o.c.e.w, #5 dowels @24” o.c. to existing

Concrete to be 4000 psi

Seal slab

The Board of Directors reserves the right to reject all bids and also the right to take any bid, whether or not it was the lowest if, in the judgment of the Board of Directors, the quality of the items submitted on bids justify taking other than the lowest one. In addition, the Board of Directors reserves the right to reject any or all bids and to waive any technicalities as may be contained in the bids and also reserves the right to reject items on delivery if at that time it does not meet the satisfaction of the Board of Directors.

SEALED BIDS MUST BE RECEIVED AT THE ADMINISTRATIVE OFFICES OF THE EUREKA FIRE PROTECTION DISTRICT, 4849 HIGHWAY 109, PO BOX 97 EUREKA, MISSOURI 63025 BY:

**February 10, 2023**

**The bid will be awarded**

**February 14, 2023, after 5:30 pm**

**During the regularly scheduled**

**Eureka Fire Protection District Board Meeting**

The Eureka Fire Protection District **Bid Proposal Form** must be completed and placed at the front of all bids submitted.

**Eureka Fire Protection District**

**PO Box 97**

###### 4849 Hwy 109

**Eureka, MO 63025**

**(636) 938-5505**

#### Bid Proposal Form

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (bidder),

Hereby propose to furnish to the Eureka Fire Protection District remove, prepare sub-grade, replace and seal 450 s/f 8” inch concrete bay floor.

 Total Price:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Bid price good for \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ days

 Signed: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Company: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_